St. Guthlac’s Church Logbook

Until St. Guthlac’s church became part of a Conventional District on 1st October 2011, all aspects of maintenance and repair were the responsibility of the Buildings Committee, a sub-committee of Knighton PCC. Little work was done on the church other than essential repairs and little was documented, except an occasional minute in a Buildings Committee meeting

From 1st October 2011

| Description of Works | Date of Faculty/ QI Reference | Contractor/ Consultants | Cost of work/ Fees | Notes Grants, donations, etc. Completion Dates |
| --- | --- | --- | --- | --- |
| Lightning Conductor Test | June 2011 | Thunderbolt |  |  |
| Lightning Conductor Test | August 2012 | Thunderbolt |  |  |
| Lightning Conductor Test | August 2013 | Thunderbolt |  |  |
| Extension to West end of church | 2013 | Contractor: Brown & Shaw Architect: B2B | £109587.36 | Completed: Nov 2013 |
| Lightning Conductor Test | October 2014 | Thunderbolt |  |  |
| Quinquennial Inspection | October 2014 | Michael Goodhart |  |  |
| Lightning Conductor Test | November 2015 | Thunderbolt |  |  |

On 11th April 2016 the church was consecrated as a parish church within the Benefice of Knighton .

From 11th April 2016

| Description of Works | Date of Faculty/ QI Reference | Contractor/ Consultants |  | Cost of work/ Fees | Notes Grants, donations, etc. Completion Dates |
| --- | --- | --- | --- | --- | --- |
| PAT Testing | September 2016 | OCS |  |  |  |
| Lightning Conductor Test | January 2017 | Thunderbolt |  |  |  |
| Replace Heating System | Faculty: 2016-003281 5/12/2016 | APW Services Ltd |  | £15905.19 | Completion: 21/04/2017 |
| Heating Service | September 2017 | APW Services Ltd |  | £84.00 |  |
| Lightning Conductor Test | January 2018 | Thunderbolt |  |  |  |
| Leaking water heater in servery |  | Karl Shipley |  | £275.00 | 14/09/2018 |
| Heating Service | October 2018 | APW Services Ltd |  | £113.40 |  |
| Lightning Conductor Test | January 2019 | Thunderbolt |  |  |  |
| Minor Replastering following new heating system | May 2019 | DIY |  |  |  |
| PAT Testing | October 2019 | OCS |  |  |  |
| Heating Service | October 2019 | APW Services Ltd |  | £145.20 |  |
| Quinquennial Inspection | October 2019 | Richard Brook |  |  |  |
| Lightning Conductor Test | February 2020 | Thunderbolt |  |  |  |
| Lightning Conductor Test | March 2021 | Thunderbolt |  |  |  |
| 5 Year Electrical Test & EICR Report | August 2021 | DPR Electrical Services |  | £295.00 |  |
| Heating Service | September 2021 | APW Services Ltd |  | £156.00 |  |
| Remedial observation work following 5 year Electrical Test | February 2022 | DPR Electrical Services |  | £310.00 |  |
| Lightning Conductor Test | February 2022 | Thunderbolt |  |  |  |
| Fire Extinguisher Service | February 2022 | Extinguish Fire Solutions |  | £61.20 |  |
| Refit and replace loose slates & Clear, Clean & Inspect gutters | March 2022 | Maple Roofing & Construction |  | £500.00 |  |
| Heating Service | September 2022 | APW Services Ltd |  | £132.00 |  |
| Move Smoke Detector in Welcome Area so it is accessible by ladder | Oct 2022 | DPR Electrical Services |  |  |  |
| Replace Wall Heater in Welcome Area | Oct 2022 | DPR Electrical Services |  |  |  |
| Install new sound cabinet on Chancel Wall and cabling | Faculty – January 2023 |  |  |  |  |
| Lightning Conductor Test | February 2023 | Thunderbolt |  |  |  |
| Fire Extinguisher Service | February 2023 | Extinguish Fire Solutions |  | £156.90 |  |
| Heating Service | October 2023 | APW Services Ltd |  | £132.00 |  |
| Lightning Conductor Test | February 2024 | Thunderbolt |  |  |  |
| Fire Extinguisher Service | March 2024 | Hoyles |  | £61.20 |  |
| Repainting interior of Church | May 2024 | FC&D Wells |  | £18366.00 | Completion: 20/05/2024 |
| Heating Service | November 2024 | APW Services Ltd |  | £138.00 |  |
| Lightning Conductor Test | February 2025 | Thunderbolt |  |  |  |
| Repair rotten flooring in Chancel and Clergy Vestry | March 2025 | N.R.Bates Ltd |  | £1195.00 |  |
| Repair & Clean Guttering to north & south sides of main body of church & ease toilet door | July 2025 | N.R.Bates Ltd |  |  |  |
| Fire Extinguisher Service | July 2025 | Aylestone Fire Protection |  | £127.25 |  |

Overview Prior to QI 2019

The PCC has agreed that when funds allow, the church should be redecorated inside.

The New Heating system exposed some replastering that will need to be done prior to painting.

Four new power sockets are required in the Choir Vestry by the desk to replace the trailing lead.

Several slates have slipped throughout the roof particularly over the chancel.

The bell rope has become detached from the bell.

The original guttering that was cleaned and sealed at the time of the extension, is leaking again at several joints.

The floor in the Clergy Vestry needs to be repaired.

Church fabric issues that it is intended to address are listed below-

| Description of Works | Date of Faculty/ QI Reference | Contractor/ Consultants | Cost of work/ Fees | Notes Grants, donations, etc. Completion Dates |
| --- | --- | --- | --- | --- |
| Redecorate church |  |  |  |  |
| Replastering damaged areas |  |  |  |  |
| Install 4 power sockets in choir vestry |  |  |  |  |
| Replace slipped/missing slates |  |  |  |  |
| Repair bell pulley system |  | Taylors |  |  |
| Repair guttering around the church |  |  |  |  |
| Repair floor in clergy vestry |  |  |  |  |

Future Works

| Description of Works | Date of Faculty/ QI Reference | Contractor/ Consultants | Cost of work/ Fees | Notes Grants, donations, etc. Completion Dates |
| --- | --- | --- | --- | --- |
| Quinquennial inspection of the church | Oct 2019 |  |  |  |