St Guthlac’s Annual Safety Check & General Review

10th July 2025

David Hunt & Tina Jarvis

- Accident Book in Welcome Area – checked (Last item 20.2019 in drawer in choir vestry as required.)

- First Aid Box – Checked by Lesley 9.5.25

- Fire extinguishers – were checked by company in July 25

- Smoke detectors – Ok

- The church 2 emergency evacuation routes OK.

- Portable electrical devices – retest almost complete (David)

- Fixed electrical equipment (visual inspection) – OK except for

- three bulbs out in church. (David)

- intermittent light in kitchen (David)

- Water systems OK and toilet cistern flushing OK.

- Emergency lighting – working OK except for nave lights which never work.

- Gas boiler equipment working. Recently serviced – Feb/ March 25.

- Hazardous substances – correctly in cupboard out of reach of children. Hand sanitiser is available.

- Keys and keyholders – OK

- Condition of floors Ok (Soft area in chancel and uneven floor in clergy vestry has been addressed.)

- Glazing – One cracked window

- Some but not all windows open.  They provide some ventilation. To improve ventilation the window behind the choir can be removed completely and a fan has been bought.

- Two seals have blown in the windows of the Welcome Area but they are not a safety risk.

- Sticking toilet door has been corrected.

- The hymn board can be removed easily and has been fixed lower down so that one person can change the numbers.

- Communion cruets are regularly emptied and cleaned. Notice in clergy vestry asking that the water jug is emptied is present.

- Condition of church yard & roof

- Two benches generally OK but one back support is missing and one loose. (David) Long bench slightly wobbly.

- Path to choir vestry minor trip hazards have been addressed.

- Paving by front door will need repointing in future (David)

- Slates on roof have been replaced, but one slate is beginning to work loose.

- Gutters have been cleaned July 25

- Trees need pruning including the Yew trees and a dying tree. Arrangements in hand. (Fiona)

- Passageway between church & hall and back garden

  - Fire door to outside area very stiff (David)

  - Back garden Ok (Thanks to garden team)

  - Tape marking overhanging pipe on boiler room present.

  - Outer gate & fire escape gate permanently open due to warping. New fitted gate in hand.

  - ‘Fire Exit’ notice pointing to gate needs fixing (David)

  - Crack under window above the altar could be causing damage to inside paintwork but it is not a safety risk.